ADAPTER

A Trident model #09.017.0 1.5” male NPT x 1.5” Victaulic brass internal lug adapter shall be provided.