DOUBLE MALE ADAPTER

A Trident model #01.073.0 1.5" NPT x 1.5” NH rocker lug chrome plated brass double male adapter shall be provided.