ADAPTER

A Trident model #09.017.2 2.5” male NPT x 2.5” Victaulic brass internal lug adapter shall be provided.