ADAPTER

A Trident (model #01.154.5) 2.5” male NPT rigid  x 2.5” female NH chrome plated internal lug adapter with strainer shall be provided.