BALL VALVE

A Trident model #30.036.2 4-bolt hard anodized aluminum swing out ball valve 1" in size with quarter turn handle shall be provided.