ADAPTER

A Trident model #09.064.1 valve end adapter 1" Victaulic x 4-bolt flange shall be provided.