ADAPTER

A Trident model #09.064.4 valve end adapter 1.0" male NPSH x 4-bolt flange shall be provided.