MANIFOLD ADAPTER -- HARD ANODIZED ALUMINUM

A Trident model #07.028.11 hard anodized aluminum manifold shall be provided with (1)1" and (2) 2.5" 4-bolt flanges.