BALL VALVE

A Trident model #30.037.2 4-bolt hard anodized aluminum swing out ball valve 1.5" in size with quarter turn handle shall be provided.