ADAPTER

A Trident model #09.065.0 valve end adapter 1.5" female NPT x 4-bolt flange shall be provided.