MANIFOLD ADAPTER -- HARD ANODIZED ALUMINUM

A Trident model #07.028.16 hard anodized aluminum manifold shall be provided with (1)1.5" and (2) 2.5" 4-bolt flanges.