ADAPTER

A Trident model #09.066.0 valve end adapter 2" female NPT x 4-bolt flange shall be provided.