ADAPTER

A Trident model #09.066.1 valve end adapter 2" Victaulic x 4-bolt flange shall be provided.