ADAPTER

A Trident model #09.066.2 valve end adapter 2.5" male NPT x 4-bolt flange shall be provided.