ADAPTER

A Trident model #09.067.6 valve end adapter 2.5" female swivel NH x 4-bolt flange shall be provided.