ADAPTER

A Trident model #09.017.6 1” male NPT x 1” Victaulic stainless steel internal lug adapter shall be provided.