DOUBLE MALE ADAPTER

A Trident model #01.136.0 2.5" male NH x 2.0” male NPT hex chrome plated brass double male adapter shall be provided.