MANIFOLD ADAPTER -- HARD ANODIZED ALUMINUM

A Trident model #07.030.21 hard anodized aluminum manifold shall be provided with 2" male threaded NPT outlet with (2) 2.5" 4-bolt flanges.