DISCHARGE MANIFOLD TEE -- HARD ANODIZED ALUMINUM

A Trident model #07.028.1 hard anodized aluminum discharge manifold shall be provided with (3) 2.5" 4-bolt flanges.