DOUBLE SWIVEL ADAPTER

A Trident (model #01.055.4) 2” Victaulic x 1.5” NH male brass 90 degree long arm chicksan double swivel elbow shall be provided.