MASTER PUMP DRAIN VALVE

A Trident model #30.009.2 type #10-PE master pump drain valve shall be provided.   The ten (10) port brass valve shall have a round chrome plated brass handle.   The valve shall be enclosed with a rubber type boot for a single drainage outlet.