ELBOW

A Trident model #01.S10.15 2.841” x 8 TPI NPSH female swivel x 2.5” NH female chrome plated brass 30 degree elbow shall be provided.