Threaded Mounting Plate

A Trident 2.00” MNPSH (Male National Pipe Straight Hose Thread) threaded mounting plate (Part #24.034.12) will be installed.  The mounting plate will be made from cast brass, machined, and chrome plated with a polished finish.  The threaded mounting plate will have laser etched markings on it indicating the size and type of thread.

Warranty

The threaded mounting plate will be covered by a five (5) year parts warranty.