Threaded Mounting Plate

A Trident 6.00” MNH (Male National Hose Thread) threaded mounting plate (Part #24.034.9) will be installed.  The mounting plate will be made from cast brass, machined, and chrome plated with a polished finish.  The threaded mounting plate will have markings casted in it indicating the size and type of thread.

Warranty

The threaded mounting plate will be covered by a five (5) year parts warranty.